| Proposed Start & End Time: |  |
| --- | --- |
| Contractor: |  |
| Description of Work: |  |
| Competent Person: |  |
| Work Location: |  |

Type of Work Performed (select all that apply):

- Cutting

- Soldering / Grinding

- Oxy / Acetylene Torch

- Gas Welding

- Electric Arc Welding

- Acetylene / MAPP Gas

Required Precautions (check all that apply):

General:

- Cutting and welding equipment in good condition

- Sprinkler system in service

- Fire Extinguisher in good condition and available

Requirements within 35 Feet of Work:

- Floors swept and clean of combustible material

- Combustible floors (e.g. wood, tile, carpet, etc.) wet down, covered with damp sand or fire blankets

- No flammable materials stored in area

- Wall and floor openings covered

- Walkways protected beneath hot work

Work on Wall or Ceiling:

- Combustibles removed from other side of wall

- Construction is non-combustible and without combustible covering or insulation

Work in Confined Space:

- Confined Space Permit

- Equipment cleaned of all liquid combustibles

- Containers purged of vapors

Fire Watch:

- Fire watch will be provided during and for 30 minutes after work (including breaks)

- Fire watch is supplied with and extinguisher and/or water pump can

- Fire watch is trained on use of equipment

| Authorized Personnel: |  |
| --- | --- |
| Role: | Name: |
| Fire Watch |  |
| Welder |  |
| Supervisor |  |
| Other |  |

| Signatures: |  |
| --- | --- |
| Contractor Supervisor: |  |
| Fire Watch: |  |